Minutes of Meeting – September 6, 2017

Wales Board of Health

3 Hollow Road, Wales, MA 01081

Present:  David Foote – chair, Dan Haley-member

Minutes recorded by: Michelle Blanchard-Clerk

Open Meeting

DF opened meeting at 5:00pm

Approve Minutes: DH motion to approve minutes from 8/16/2017, DF 2nd.  Vote - Approved 2-0

Open Mail

30 Main St. - Title 5 report, failed.  Backing up into system component due to overloaded or clogged SAS.  Unoccupied, 3 weeks.  Homemade cesspool.

32 Stafford Rd. - Title 5 report, pass

28 Ainsworth Hill Rd. - Title 5 report, pass

161 Stafford Rd. - Title 5 report, pass

15 Reed Hill Rd. - Title 5 report, pass

Poirier - pumping records

Modern - pumping records

DEP, Norcross - PWS.  Greenhouse well contaminated with total coliform.  Serves as irrigation and provides water to employees.  If contamination can’t be addressed, consider a second well-irrigation or potable only.

WES – water test

Old Business

New Business

Wales library – positive total coliform.  BOS will retest.  Spoke to the lab, no need to close.  Put up signs, not for drinking, and supply hand sanitizer.

WES – kitchen inspection, pass

2 Debbie Ln – DF inspected.  House is in good shape.

38 Walker Rd. – Campground (Eagle Pass Campground).  As built.  JC inspected it, everything is good.  DF signed.

15 Hidden Acres – letter needed, septic breakout, witness by member of BOH.  Send letter and information on applying for grant with PVPC.  Please either come to a meeting or contact BOH office.  Have system pumped out.

Henry Road drainage. – BOH has not been able to witness drainage in road so far.  Will continue to monitor and will take a sample when possible to determine if it is septic.

Public

Complaints

Sign Payroll

Sign Permits

Close meeting

DH motion to close meeting at 6:30pm, DF 2nd.  Vote 2-0