Minutes of Meeting – June 5, 2019

Wales Board of Health

3 Hollow Road, Wales, MA 01081

Present:  David Foote–Chairman, Dan Haley–Member, Kenny Moore–Member, Jill Cafarelli-Agent

Minutes recorded by: Michelle Blanchard-Clerk

Open Meeting

DF opened meeting at 5:00pm

Approve Minutes:

Approve minutes from May 1, 2019

Open Mail

DEP – WES, lead and copper review summary sheet

DEP – WBV, notice of noncompliance, failure to submit annual report

Title 5 report – 3 Reed Hill Road, pass

Title 5 report – 4 Laurel Lane, pass

Slims – pumping records

Poirier – pumping records

21 Lake George Road – well completion report

162A Monson Road – signed PVPC determination of need

Old Business

New Business

93 Main St. ap & rev.

21 Holland Rd. ap & rev. JC reviewed, recommends approval. DH motion to approve.  DF 2nd, KM abstained.  Vote 2-0 approved.

4 Sichols Colony – needs sign off for building department.  BOH reviewed title 5 report, passed.  Signed sheet.

18 Stafford Road, COC - signed

30 Main St., COC - signed

3 Reed Hill Road, building department sign off sheet - signed

Public

26 Lake Shore Drive.  Ap & rev. variance to wells - abutter present, Harold and Karen Hartman

Owner would like to keep the well and tank in the same place.  Doesn’t want to flip them.  This design is title 5 compliant.

Harold Hartman – Will it have a bladder?

Mark Farrell – No.  Bladders were put in on older tanks to keep water from coming in, not out.  Older tanks have seams, which could sometimes leak.  This is a one piece tank.

HH – Other neighbor has a one piece tight tank which fills with groundwater.

MF – He doesn’t have a riser, he has a manhole cover.  This will have a sealed riser, which will prevent that from happening.

JC – If you see any leaking, call the BOH and they will investigate.  This is a title 5 compliant system, DEP is good with this design. This is safer than they system which is already there.

DF – This is a safe option.

DH motion to accept this plan, with condition that a one piece tank be installed and the neighbors well be tested.  DF 2nd. Vote 2-0 approved.  KM abstained.

16 Woodland Hts. Ap & rev. variance to wells, abutters present – Michael Foster and Jason Remillard

MF This is a 1500 gallon septic tank with a pump chamber and mound.  There are 3 impacted wells in the area, 52’, 70’, 52’.  The code says 100’ to well.  Prior code was 50’.  New construction has to meet the 100’ setback, existing can get variances.

JR Concerned system is 70’ from his cellar.

MF The system will never reach the basement.  The way the water flows down the hill, the water in basement is coming from uphill.

Michael F Would like it to be a tight tank.

JC DEP doesn’t like tight tanks.  They prefer septic systems.  Tight tanks are only an option when there is no other option.

MF The ground does an incredible job of filtering.  The first 6” of soil does most of the cleaning.  There is 5’ here.  It is a wet area and this system will be raised higher than it currently is.

Michael F Want to be sure it’s the best option.  Doesn’t want to allow a variance if there are better options.  Does understand that something needs to be done.

JC This is the best option.  The wells will be tested.  If there are any issues with the system at all after it’s installed, please bring them to the BOH.

DH motion to accept the plans.  DF 2nd.  Vote 2-0 KM abstained.

Bill Darnely – Wales Brookside Village

BD Dave Anderson (manager of WBV) has left.  He was in charge of the testing and maintenance of the water.  There is supposed to be someone available to do that 24/7.  There is no one there to do it now.

Recently, 3-4 weeks ago, they dug out the road to do maintenance and hit the water line.  The park was without water all day.  The next day, the same thing happened.

Dave Anderson used to treat the water with chlorine, it has now been a week since the water has been treated.

Not all systems are connected to the new septic system.  Old systems are still being used.  A delivery driver drove over one of the systems and his tires sunk 8” into the ground.

BOH will contact the DEP and find out who is supposed to be in charge of the public water supply system maintenance and testing.

BOH will contact the engineer to confirm if all old systems have been connected to the new system.

Tabled until next BOH meeting.

Complaints

Sign Payroll

Sign Permits

Close meeting

DF motion to close meeting at 6:30pm, DH 2nd.  Vote 3-0