Minutes of Meeting – September 6, 2023

Wales Board of Health

3 Hollow Road, Wales, MA 01081

Location: Wales Senior Center

Present:  David Foote – Chair, Dan Haley – Member, Kenny Moore – Member

Minutes recorded by: Michelle Blanchard-Clerk

Open Meeting

DH opened meeting at 5:00PM

Approve Minutes:

Approve minutes from 7/19/2023. Dan Haley motion to accept minutes, David Foote 2nd, vote 3-0 approved

Mail

Charlton Well – 30 Lake George Rd., well completion report

11 Heck Rd. – t5, needs further evaluation.

- The tight tank was overfilled and not pumped out prior to inspection.

  - Need to get it pumped prior to inspection

- No alarm on tank

  - Need to hire licensed electrician and septic installer to install alarm and hook it up

- A well less than 100’, but more than 50’, from the septic system.

  - Need to provide a passing water test on all wells within 100’

At this time the BOH will not pass this system.  Will need to reinspect after installing the alarm.  The BOH will reconsider after meeting these conditions.

3 Reed Hill Rd. – t5, pass

New Business

Old Business

Complaints

17 Woodland Dr. – anonymous letter that the owner dug their own septic system

DH visited the property.  Beyond some fresh dirt, he was unable to substantiate the complaint of the property owner installing a septic system without BOH approval.  If the BOH obtains proof, will consider further action.  Possibly condemnation of system.

Sign Payroll

Sign Permits

Close meeting

DH motioned to close meeting at 6:30pm, KM 2nd. Vote 2-0